Colophon

| Project name | Site Studies Hollandse Kust (zuid) Wind Farm Zone |
| --- | --- |
| Version | April 2017 |
| File name | HKZ_20170327_Memo boundaries and coordinates_J |
| Project manager | Ruud de Bruijne |
| Annex(es) | - |
| Authors | Rick van der Heijden (RVO.nl); Danny Meus (RVO.nl) |
| Reviewed | Rene van ’t Hart (RWS); Ruud de Bruijne (RVO.nl); Frank van Erp (RVO.nl); Jan van Duijvenbode, Eisse van den Oever (PeriPlus); Evert Mom (TenneT); Anthony Crockford (Ecofys); Maarten Timmerman (BLIX) |
| Approved | Thomas Collette (RWS); Bert Wilbrink (EZ) |

Only the coordinates and boundaries in the final Wind Farm Site Decisions are legally binding. The coordinates in the final Wind Farm Site Decisions HKZWFS I and II are aligned with this memo. Please note this memo confers no rights and is provided for convenience only.

Contents

1	Introduction	4

2	The Hollandse Kust (zuid) Wind Farm Zone (HKZWFZ)	6

3	Hollandse Kust (zuid) Wind Farm Sites (HKZWFS)	8

4	TenneT infrastructure	28

5	Existing infrastructure - cables and pipelines	29

6	Wind turbines in existing nearby wind farms	32

# Introduction

## Purpose

The purpose of this memo is to establish the exact definition for the Hollandse Kust (zuid) Wind Farm Sites (HKZWFS) (in Dutch: kavels). The geographical information is based on the data available in September 2016.

Only the coordinates and boundaries in the final Wind Farm Site Decisions (WFSD) are legally binding. The coordinates in the final WFSD Sites l and ll are aligned with this Appendix. Please note this memo confers no rights and is provided for convenience only.

## Revisions

## Horizontal datum

The geodetic system used for horizontal projections is European Terrestrial Reference System 1989 (ETRS89).

All coordinates are given in UTM projection, for which the following applies:

- Local datum European Datum (ETRS89)

- Central Meridian 3° E (Zone 31)

## GIS Information

All coordinates given in this document correspond to GIS data that is made available by the Netherlands Enterprise Agency (RVO.nl) through the MPK file of the HKZWFZ at http://offshorewind.rvo.nl/mapszh.

## Coordinate numbering

The coordinates given in this document are numbered according to the following system:

- Coordinates that determine the boundaries of the Hollandse Kust (zuid) Wind Farm Zone (HKZWFZ) start with the letter code WFZ followed by an underscore and a number (WFZ_1, WFZ_2, …);

- Coordinates that determine the outer boundaries of the HKZWFS start with the letter code S followed by an underscore and a number (S_1, S_2, …);

- Coordinates that determine the entry zone for the connection of the infield cables to the TenneT platforms Alpha and Beta start with the letter code CE followed by an underscore and a number (CE_1, CE_2, …);

- Coordinates that determine the maintenance zones of pipes and cables in the HKZWFZ start with the letter code MZ followed by an underscore and a number (MZ_1, MZ_2, …);

- Coordinates of objects which might have archaeological value start with the letter code AV followed by an underscore and a number (AV_1, AV_2, …); ;

- Coordinates of magnetic anomalies possibly indicating UXO objects or objects with archaeological value start with the letter code MA followed by an underscore and a number (MA_1, MA_2, …);

- Coordinates of the centre of the TenneT OHVS platforms (Substations HKZ Alpha and Beta)  in the HKZWFZ start with the letter code TOS followed by an underscore and a number (TOS_1, TOS_2, …);

- Coordinates that determine the route of the TenneT export and redundancy cables in the HKZWFZ start with the letter code TC followed by an underscore and a number (TC_1, TC_2, …);

- Coordinates that determine the location of the existing cables and pipelines in the HKZWFZ start with the letter code CP followed by an underscore and a number (CP_1, CP_2, …).

- Coordinates that determine the locations of the wind turbines at neighbouring wind farms start with the letter code NW followed by an underscore and a number (NW_1, NW_2, …).

## Orientation figures

All figures included in this document are presented with the north direction facing upwards.

# The Hollandse Kust (zuid) Wind Farm Zone (HKZWFZ)

Figure 1	Overview of the Designated & Intended HKZWFZ

Table 1 	Coordinates of the boundary points for the HKZWFZ

# Hollandse Kust (zuid) Wind Farm Sites (HKZWFS)

Figure 2	Overview of the HKZWFZ and Wind Farm Sites

## Hollandse Kust (zuid) Wind Farm Site I (HKZWFS I)

### Coordinates and maintenance zones

Figure 3		Hollandse Kust (zuid) Wind Farm Site I

Table 2	Coordinates of the HKZWFS I

Table 3	Coordinates of the maintenance zones in the HKZWFS I

### Cable Entry Zone

Figure 4		Cable Entry Zone HKZWFS I

Table 4 	Coordinates of the infield cable entry zone HKZWFS I

### Possible archaeological objects and magnetic anomalies

Figure 5		Possible Archaeological Objects in HKZWFS I

| Possible Archaeological Objects in HKZWFS I |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| AV_10 (NCN-1956) | 574,777.0 | 5,804,155.0 |  | AV_17 (NCN-2737) | 576,849.0 | 5,808,168.0 |
| AV_11 (NCN-1957) | 576,065.0 | 5,804,020.0 |  | AV_21 (NCN-7980) | 567,518.0 | 5,803,057.0 |
| AV_12 (NCN-1958) | 577,061.0 | 5,803,263.0 |  | AV_23 (NCN-9563) | 576,711.2 | 5,807,696.2 |
| AV_14 (NCN-1963) | 572,212.0 | 5,805,044.0 |  | AV_26 | 565,220.0 | 5,798,600.0 |
| AV_15 (NCN-2497) | 568,847.0 | 5,803,855.0 |  | AV_27 | 572,850.0 | 5,801,510.0 |

Table 5	Coordinates of possible archaeological objects in HKZWFS I (including reference to the NCN database numbers)

A buffer zone of 100 m should be applied around the few objects found which have yet to be determined to have no archaeological value, thereby prohibiting any activities in their locations. This also applies to cable trenching and anchorages of work vessels. Please note that the buffer zone may be reduced if it can be substantiated that the applied activity and disturbance has no effect on the (possible) archaeological object.

Figure 6		Magnetic Anomalies (possible buried ferrous objects) in HKZWFS I

| Magnetic Anomalies in HKZWFS I |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| MA_01 | 576,036.0 | 5,801,508.0 |  | MA_38 | 574,231.0 | 5,807,711.0 |
| MA_02 | 575,998.0 | 5,801,425.0 |  | MA_39 | 573,123.0 | 5,805,129.0 |
| MA_03 | 576,418.0 | 5,802,547.0 |  | MA_40 | 570,901.0 | 5,800,018.0 |
| MA_04 | 575,963.0 | 5,802,753.0 |  | MA_41 | 571,756.0 | 5,801,554.0 |
| MA_05 | 575,768.0 | 5,803,028.0 |  | MA_42 | 571,200.0 | 5,800,389.0 |
| MA_06 | 574,674.0 | 5,801,427.0 |  | MA_43 | 570,375.0 | 5,798,663.0 |
| MA_07 | 576,490.0 | 5,806,139.0 |  | MA_44 | 573,845.0 | 5,805,491.0 |
| MA_08 | 577,371.0 | 5,808,497.0 |  | MA_45 | 574,263.0 | 5,806,134.0 |
| MA_09 | 573,735.0 | 5,801,062.0 |  | MA_46 | 573,305.0 | 5,803,676.0 |
| MA_10 | 575,752.0 | 5,805,808.0 |  | MA_47 | 574,416.0 | 5,806,003.0 |
| MA_11 | 569,096.0 | 5,800,428.0 |  | MA_48 | 572,925.0 | 5,801,433.0 |
| MA_12 | 570,076.0 | 5,803,628.0 |  | MA_49 | 578,743.0 | 5,802,934.0 |
| MA_13 | 567,626.0 | 5,799,189.0 |  | MA_50 | 579,244.0 | 5,802,787.0 |
| MA_14 | 568,410.0 | 5,801,088.0 |  | MA_51 | 569,647.0 | 5,802,471.0 |
| MA_15 | 570,288.0 | 5,805,006.0 |  | MA_52 | 570,171.0 | 5,802,184.0 |
| MA_16 | 568,740.0 | 5,804,314.0 |  | MA_53 | 572,359.0 | 5,806,101.0 |
| MA_17 | 568,581.0 | 5,804,228.0 |  | MA_54 | 570,892.0 | 5,802,315.0 |
| MA_18 | 568,047.0 | 5,803,103.0 |  | MA_55 | 572,170.0 | 5,804,302.0 |
| MA_19 | 566,720.0 | 5,800,309.0 |  | MA_56 | 574,313.0 | 5,806,692.0 |
| MA_20 | 567,917.0 | 5,803,981.0 |  | MA_57 | 573,670.0 | 5,805,349.0 |
| MA_21 | 567,453.0 | 5,805,133.0 |  | MA_58 | 572,759.0 | 5,802,735.0 |
| MA_22 | 563,864.0 | 5,799,686.0 |  | MA_59 | 572,797.0 | 5,802,813.0 |
| MA_23 | 565,374.0 | 5,803,551.0 |  | MA_60 | 571,918.0 | 5,803,556.0 |
| MA_24 | 563,153.0 | 5,799,769.0 |  | MA_61 | 571,523.0 | 5,801,349.0 |
| MA_25 | 563,224.0 | 5,799,910.0 |  | MA_62 | 576,766.0 | 5,802,803.0 |
| MA_26 | 563,745.0 | 5,800,583.0 |  | MA_63 | 573,357.0 | 5,801,224.0 |
| MA_27 | 563,560.0 | 5,800,194.0 |  | MA_64 | 573,418.0 | 5,801,345.0 |
| MA_28 | 563,560.0 | 5,800,194.0 |  | MA_65 | 574,908.0 | 5,804,474.0 |
| MA_29 | 566,149.0 | 5,803,506.0 |  | MA_66 | 572,300.0 | 5,803,878.0 |
| MA_30 | 566,181.0 | 5,802,909.0 |  | MA_67 | 572,851.0 | 5,801,556.0 |
| MA_31 | 567,678.0 | 5,803,958.0 |  | MA_68 | 574,764.0 | 5,805,584.0 |
| MA_32 | 572,843.0 | 5,801,547.0 |  | MA_69 | 575,563.0 | 5,807,260.0 |
| MA_33 | 573,721.0 | 5,803,385.0 |  | MA_70 | 573,040.0 | 5,806,828.0 |
| MA_34 | 572,996.0 | 5,800,432.0 |  | MA_71 | 570,894.0 | 5,802,315.0 |
| MA_35 | 573,067.0 | 5,807,091.0 |  | MA_72 | 565,089.0 | 5,798,728.0 |
| MA_36 | 572,342.0 | 5,805,151.0 |  | MA_73 | 564,552.0 | 5,796,444.0 |
| MA_37 | 571,916.0 | 5,803,556.0 |  |  |  |  |

Table 6 	Coordinates of the magnetic anomalies (possible buried ferrous objects) in 
HKZWFS I

Whilst installing wind turbines and the various infield and export cables, developers are advised to avoid areas where magnetic anomalies have been identified, again by implementing a 100 m buffer zone.

## Hollandse Kust (zuid) Wind Farm Site II (HKZWFS II)

### Coordinates and maintenance zones

Figure 7		Hollandse Kust (zuid) Wind Farm Site II

Table 7	Coordinates of the HKZWFS II

### Cable Entry Zone

Figure 8		Cable Entry Zone HKZWFS II

Table 8	Coordinates of the infield cable entry zone HKZWFS II

### Possible archaeological objects and magnetic anomalies

Figure 9		Possible Archaeological Objects in HKZWFS II

| Possible Archaeological Objects in WFS II |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| AV_05 (NCN-1933) | 570,361.0 | 5,795,591.0 |  | AV_16 (NCN-2520) | 564,167.0 | 5,789,208.0 |
| AV_07 (NCN-1941) | 564,665.0 | 5,796,595.0 |  | AV_22 (NCN-8011) | 567,134.0 | 5,792,960.0 |

Table 9	Coordinates of possible archaeological objects in HKZWFS II (including references to the NCN database numbers)

A buffer zone of 100 m should be applied around the few objects found which have yet to be determined to have no archaeological value, thereby prohibiting any activities in their locations. This also applies to cable trenching and anchorages of work vessels. Please note that the buffer zone may be reduced if it can be substantiated that the applied activity and disturbance has no effect on the (possible) archaeological object.

Figure 10		Magnetic Anomalies (possible buried ferrous objects) in HKZWFS II

| Magnetic Anomalies in HKZWFS II |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| MA_73 | 564,552.0 | 5,796,444.0 |  | MA_109 | 566,557.0 | 5,790,666.0 |
| MA_74 | 565,109.0 | 5,792,727.0 |  | MA_110 | 567,028.0 | 5,790,484.0 |
| MA_75 | 566,712.0 | 5,796,115.0 |  | MA_111 | 567,404.0 | 5,790,584.0 |
| MA_76 | 564,382.0 | 5,791,897.0 |  | MA_112 | 568,109.0 | 5,791,821.0 |
| MA_77 | 565,654.0 | 5,795,285.0 |  | MA_113 | 568,328.0 | 5,791,589.0 |
| MA_78 | 566,722.0 | 5,797,536.0 |  | MA_114 | 570,428.0 | 5,795,299.0 |
| MA_79 | 563,990.0 | 5,792,271.0 |  | MA_115 | 569,945.0 | 5,793,797.0 |
| MA_80 | 566,784.0 | 5,798,367.0 |  | MA_116 | 568,532.0 | 5,790,615.0 |
| MA_81 | 565,664.0 | 5,796,697.0 |  | MA_117 | 570,774.0 | 5,794,857.0 |
| MA_82 | 565,431.0 | 5,796,213.0 |  | MA_118 | 571,267.0 | 5,793,726.0 |
| MA_83 | 566,207.0 | 5,798,289.0 |  | MA_119 | 570,998.0 | 5,793,242.0 |
| MA_84 | 565,730.0 | 5,797,291.0 |  | MA_120 | 570,115.0 | 5,791,161.0 |
| MA_85 | 563,995.0 | 5,793,672.0 |  | MA_121 | 564,867.0 | 5,794,540.0 |
| MA_86 | 564,195.0 | 5,794,074.0 |  | MA_122 | 564,427.0 | 5,793,613.0 |
| MA_87 | 564,438.0 | 5,795,975.0 |  | MA_123 | 564,300.0 | 5,790,598.0 |
| MA_88 | 564,485.0 | 5,796,074.0 |  | MA_124 | 567,716.0 | 5,797,762.0 |
| MA_89 | 565,257.0 | 5,797,691.0 |  | MA_125 | 568,087.0 | 5,795,732.0 |
| MA_90 | 564,216.0 | 5,797,614.0 |  | MA_126 | 570,084.0 | 5,797,824.0 |
| MA_91 | 563,400.0 | 5,796,616.0 |  | MA_127 | 570,062.0 | 5,797,777.0 |
| MA_92 | 562,993.0 | 5,795,759.0 |  | MA_128 | 568,042.0 | 5,792,879.0 |
| MA_93 | 563,103.0 | 5,796,203.0 |  | MA_129 | 569,472.0 | 5,795,884.0 |
| MA_94 | 563,320.0 | 5,798,024.0 |  | MA_130 | 568,323.0 | 5,797,232.0 |
| MA_95 | 563,418.0 | 5,797,778.0 |  | MA_131 | 566,988.0 | 5,791,780.0 |
| MA_96 | 564,673.0 | 5,797,648.0 |  | MA_132 | 563,414.0 | 5,797,778.0 |
| MA_97 | 567,786.0 | 5,790,916.0 |  | MA_133 | 564,683.0 | 5,797,646.0 |
| MA_98 | 570,634.0 | 5,796,890.0 |  | MA_134 | 570,926.0 | 5,792,623.0 |
| MA_99 | 569,021.0 | 5,792,108.0 |  | MA_135 | 567,902.0 | 5,791,857.0 |
| MA_100 | 569,818.0 | 5,793,081.0 |  | MA_136 | 568,362.0 | 5,790,724.0 |
| MA_101 | 566,410.0 | 5,793,115.0 |  | MA_137 | 570,349.0 | 5,794,899.0 |
| MA_102 | 565,840.0 | 5,791,486.0 |  | MA_138 | 570,401.0 | 5,795,018.0 |
| MA_103 | 569,119.0 | 5,798,364.0 |  | MA_139 | 569,583.0 | 5,798,165.0 |
| MA_104 | 566,465.0 | 5,792,539.0 |  | MA_140 | 563,803.0 | 5,793,719.0 |
| MA_105 | 566,467.0 | 5,791,879.0 |  | MA_141 | 566,673.0 | 5,795,081.0 |
| MA_106 | 566,126.0 | 5,791,147.0 |  | MA_142 | 567,825.0 | 5,793,783.0 |
| MA_107 | 567,766.0 | 5,793,424.0 |  | MA_143 | 571,062.0 | 5,791,269.0 |
| MA_108 | 568,266.0 | 5,794,235.0 |  | MA_144 | 571,309.0 | 5,792,246.0 |

Table 10	Coordinates of the magnetic anomalies (possible buried ferrous objects) in 
HKZWFS II

Whilst installing wind turbines and the various infield and export cables, developers are advised to avoid areas where magnetic anomalies have been identified, again by implementing a 100 m buffer zone

## Hollandse Kust (zuid) Wind Farm Site III (HKZWFS III)

### Coordinates and maintenance zones

Figure 11	Hollandse Kust (zuid) Wind Farm Site III

Table 11 	Coordinates of the HKZWFS III

Table 12 	Coordinates of the maintenance zones in the HKZWFS III

### Cable Entry Zone

Please Note: the location of Platform Beta and the coordinates of the Cable Entry Zone for HKZWFS III and IV are not yet final.

Figure 12		Cable Entry Zone HKZWFS III

Table 13 	Coordinates of the infield cable entry zone HKZWFS III

### Possible archaeological objects and magnetic anomalies

Figure 13		Possible Archaeological Objects in HKZWFS III

| Possible Archaeological Objects in WFS III |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| AV_02 (NCN-1920) | 573,048.0 | 5,786,823.0 |  | AV_19 (NCN-4660) | 566,205.0 | 5,783,526.0 |
| AV_03 (NCN-1922) | 564,932.0 | 5,789,305.0 |  | AV_20 (NCN-4664) | 566,116.0 | 5,784,683.0 |
| AV_04 (NCN-1923) | 570,643.0 | 5,789,106.0 |  | AV_25 (NCN-14632) | 566,137.0 | 5,784,742.0 |
| AV_18 (NCN-4655) | 565,725.0 | 5,788,081.0 |  |  |  |  |

Table 14 	Coordinates of possible archaeological objects in HKZWFS III (including references to the NCN database)

A buffer zone of 100 m should be applied around the few objects found which have yet to be determined to have no archaeological value, thereby prohibiting any activities in their locations. This also applies to cable trenching and anchorages of work vessels. Please note that the buffer zone may be reduced if it can be substantiated that the applied activity and disturbance has no effect on the (possible) archaeological object

Figure 14		Magnetic Anomalies (possible buried ferrous objects) in HKZWFS III

| Magnetic Anomalies in HKZWFS III |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No, | Easting | Northing |  | Point No, | Easting | Northing |
| MA_145 | 566,055.0 | 5,784,478.0 |  | MA_165 | 574,856.0 | 5,788,802.0 |
| MA_146 | 565,865.0 | 5,788,962.0 |  | MA_166 | 571,901.0 | 5,786,772.0 |
| MA_147 | 565,394.0 | 5,787,975.0 |  | MA_167 | 570,303.0 | 5,783,860.0 |
| MA_148 | 565,034.0 | 5,787,211.0 |  | MA_168 | 568,232.0 | 5,781,838.0 |
| MA_149 | 564,690.0 | 5,786,491.0 |  | MA_169 | 569,610.0 | 5,786,585.0 |
| MA_150 | 565,891.0 | 5,789,454.0 |  | MA_170 | 568,106.0 | 5,785,068.0 |
| MA_151 | 568,944.0 | 5,782,180.0 |  | MA_171 | 568,441.0 | 5,785,775.0 |
| MA_152 | 572,400.0 | 5,789,442.0 |  | MA_172 | 569,369.0 | 5,787,712.0 |
| MA_153 | 568,831.0 | 5,784,023.0 |  | MA_173 | 567,290.0 | 5,782,458.0 |
| MA_154 | 566,942.0 | 5,782,180.0 |  | MA_174 | 567,342.0 | 5,783,257.0 |
| MA_155 | 567,901.0 | 5,784,199.0 |  | MA_175 | 567,153.0 | 5,784,445.0 |
| MA_156 | 567,915.0 | 5,784,228.0 |  | MA_176 | 567,268.0 | 5,784,691.0 |
| MA_157 | 569,911.0 | 5,788,399.0 |  | MA_177 | 566,482.0 | 5,782,820.0 |
| MA_158 | 570,974.0 | 5,790,646.0 |  | MA_178 | 568,543.0 | 5,789,955.0 |
| MA_159 | 565,683.0 | 5,787,219.0 |  | MA_179 | 565,844.0 | 5,787,091.0 |
| MA_160 | 572,164.0 | 5,786,131.0 |  | MA_180 | 565,928.0 | 5,789,309.0 |
| MA_161 | 570,515.0 | 5,786,189.0 |  | MA_181 | 567,283.0 | 5,787,512.0 |
| MA_162 | 575,770.0 | 5,789,547.0 |  | MA_182 | 568,159.0 | 5,790,080.0 |
| MA_163 | 564,587.0 | 5,786,980.0 |  | MA_183 | 564,512.0 | 5,788,713.0 |
| MA_164 | 573,502.0 | 5,789,662.0 |  |  |  |  |

Table 15 	Coordinates of the magnetic anomalies (possible buried ferrous objects) in HKZWFS IV

Whilst installing wind turbines and the various infield and export cables, developers are advised to avoid areas where magnetic anomalies have been identified, again by implementing a 100 m buffer zone

## Hollandse Kust (zuid) Wind Farm Sites IV (HKZWFS IV)

### Coordinates and maintenance zones

Figure 15		 Hollandse Kust (zuid) Wind Farm Site IV

Table 16 	Coordinates of the HKZWFS IV

Table 17 	Coordinates of maintenance zones in the HKZWFS IV

### Cable Entry Zone

Please Note: the location of Platform Beta and the coordinates of the Cable Entry Zone for HKZWFS III and IV are not yet final.

Figure 16		Cable Entry Zone HKZWFS IV

Table 18 	Coordinates of the infield cable entry zone HKZWFS IV

### Possible archaeological objects and magnetic anomalies

Figure 17		Possible Archaeological Objects in HKZWFS IV

| Possible Archaeological Objects in HKZWFS IV |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No, | Easting | Northing |  | Point No, | Easting | Northing |
| AV_01 (NCN-253) | 578,989.2 | 5,793,459.3 |  | AV_13 (NCN-1959) | 581,257.0 | 5,804,376.0 |
| AV_06 (NCN-1934) | 578,156.0 | 5,794,786.0 |  | AV_24 (NCN-15198) | 578,092.0 | 5,793,448.0 |
| AV_08 (NCN-1942) | 571,658.0 | 5,796,547.0 |  | AV_28 | 575,216.0 | 5,798,950.0 |
| AV_09 (NCN-1943) | 573,754.0 | 5,796,722.0 |  |  |  |  |

Table 19 	Coordinates of possible archaeological objects in HKZWFS IV (including references to the NCN database)

A buffer zone of 100 m should be applied around the few objects found which have yet to be determined to have no archaeological value, thereby prohibiting any activities in their locations. This also applies to cable trenching and anchorages of work vessels. Please note that the buffer zone may be reduced if it can be substantiated that the applied activity and disturbance has no effect on the (possible) archaeological object

Figure 18		Magnetic Anomalies (possible buried ferrous objects) in HKZWFS IV

| Magnetic Anomalies in HKZWFS IV |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| MA_184 | 571,179.0 | 5,798,028.0 |  | MA_215 | 581,502.0 | 5,806,463.0 |
| MA_185 | 570,887.0 | 5,799,738.0 |  | MA_216 | 585,196.0 | 5,806,315.0 |
| MA_186 | 572,255.0 | 5,800,063.0 |  | MA_217 | 585,206.0 | 5,806,337.0 |
| MA_187 | 579,786.0 | 5,802,686.0 |  | MA_218 | 578,550.0 | 5,793,062.0 |
| MA_188 | 571,330.0 | 5,795,099.0 |  | MA_219 | 582,640.0 | 5,801,644.0 |
| MA_189 | 572,850.0 | 5,795,077.0 |  | MA_220 | 577,384.0 | 5,791,042.0 |
| MA_190 | 578,582.0 | 5,798,154.0 |  | MA_221 | 582,103.0 | 5,800,979.0 |
| MA_191 | 577,040.0 | 5,800,593.0 |  | MA_222 | 579,398.0 | 5,795,549.0 |
| MA_192 | 575,238.0 | 5,800,278.0 |  | MA_223 | 580,774.0 | 5,798,433.0 |
| MA_193 | 574,035.0 | 5,792,881.0 |  | MA_224 | 576,648.0 | 5,790,899.0 |
| MA_194 | 575,204.0 | 5,798,822.0 |  | MA_225 | 577,749.0 | 5,793,478.0 |
| MA_195 | 574,233.0 | 5,797,487.0 |  | MA_226 | 578,155.0 | 5,794,772.0 |
| MA_196 | 575,583.0 | 5,800,331.0 |  | MA_227 | 578,207.0 | 5,794,881.0 |
| MA_197 | 571,208.0 | 5,796,706.0 |  | MA_228 | 580,686.0 | 5,802,445.0 |
| MA_198 | 575,170.0 | 5,791,763.0 |  | MA_229 | 581,283.0 | 5,804,388.0 |
| MA_199 | 581,203.0 | 5,804,441.0 |  | MA_230 | 575,951.0 | 5,794,326.0 |
| MA_200 | 581,951.0 | 5,806,703.0 |  | MA_231 | 574,508.0 | 5,794,080.0 |
| MA_201 | 575,938.0 | 5,794,046.0 |  | MA_232 | 576,731.0 | 5,799,495.0 |
| MA_202 | 575,770.0 | 5,793,692.0 |  | MA_233 | 573,213.0 | 5,794,161.0 |
| MA_203 | 573,017.0 | 5,791,437.0 |  | MA_234 | 573,575.0 | 5,795,169.0 |
| MA_204 | 575,218.0 | 5,796,074.0 |  | MA_235 | 573,577.0 | 5,795,170.0 |
| MA_205 | 576,542.0 | 5,798,852.0 |  | MA_236 | 573,159.0 | 5,797,079.0 |
| MA_206 | 581,835.0 | 5,798,810.0 |  | MA_237 | 572,354.0 | 5,795,402.0 |
| MA_207 | 578,964.0 | 5,793,446.0 |  | MA_238 | 572,158.0 | 5,796,131.0 |
| MA_208 | 579,011.0 | 5,793,544.0 |  | MA_239 | 573,595.0 | 5,798,703.0 |
| MA_209 | 575,795.0 | 5,790,260.0 |  | MA_240 | 571,594.0 | 5,796,569.0 |
| MA_210 | 576,283.0 | 5,790,622.0 |  | MA_241 | 571,506.0 | 5,796,388.0 |
| MA_211 | 577,225.0 | 5,792,602.0 |  | MA_242 | 572,988.0 | 5,795,334.0 |
| MA_212 | 582,283.0 | 5,808,799.0 |  | MA_243 | 574,064.0 | 5,796,888.0 |
| MA_213 | 576,472.0 | 5,795,184.0 |  | MA_244 | 575,968.0 | 5,800,684.0 |
| MA_214 | 575,931.0 | 5,794,047.0 |  | MA_245 | 574,770.0 | 5,799,514.0 |

Table 20 	Coordinates of the magnetic anomalies (possible buried ferrous objects) in 
HKZWFS II

Whilst installing wind turbines and the various infield and export cables, developers are advised to avoid areas where magnetic anomalies have been identified, again by implementing a 100 m buffer zone

# TenneT infrastructure

Please Note: the location of Platform Beta and the coordinates of the Cable Entry Zone for HKZWFS III and IV are not yet final.

Figure 19	TenneT Platforms Alpha and Beta, the export and redundancy cable routes and the infield cable corridors in the HKZWFZ

### TenneT Substations

| TenneT Platforms Alpha and Beta |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| TOS_01 | 571,100.0 | 5,797,090.0 |  | TOS_02 | 574,022.3 | 5,790,189.5 |

Table 21 	Coordinates of the TenneT Platforms Alpha and Beta in the HKZWFZ

# Existing infrastructure - cables and pipelines

## Cables and pipelines

There are several existing and planned cables and pipelines (both active and inactive) crossing the HKZWFZ. This includes the planned COAM cable, for which a permit has now been granted. The coordinates for the COAM cable shown in the Table  are based on the permit conditions. Those for all other cables and pipelines listed in the other tables below are based on as laid data which have been verified on the basis of the results from the geophysical survey of the HKZWFZ completed in 2016. (Please see: http://offshorewind.rvo.nl/studieszh).

Figure 20		Active and inactive cables and pipes in and near the HKZWFZ

| Cables in use |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Name | Route | Material | Type | Status |
| 1 | Concerto 1 Segment 1 North | Zandvoort (NL) to Sizewell (GB) | Fibre Optic | Telecom | In use |
| 2 | Circe 1 North | Zandvoort (NL) to Lowesoft (GB) | Fibre Optic | Telecom | In use |
| 3 | Ulysses 2 | IJmuiden (NL) to Lowesoft (GB) | Fibre Optic | Telecom | In use |
| 4 | TAT14 Segment I | Katwijk (NL) to Saint Valery en Caux (F) | Fibre Optic | Telecom | In use |
| 5 | COAM | Cork (IR) to Katwijk (NL) | Fibre Optic | Telecom | Planned |
| 6 | TAT14 Segment J | Katwijk (NL) to Norden (D) | Fibre Optic | Telecom | In use |
| 7 | Luchterduinen | Noordwijk (NL) to Luchterduinen (NL) | Copper | Electricity | In use |

Table 22 	Existing active pipelines in the HKZWFZ

| Pipelines in use |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Name | Route | Material | Type | Status |
| 8 | PL0228_PR | Q13a-A to P15-C | Pipeline | Oil | In use |
| 9 | PL0039_PR | P15-C to Hoek van Holland (NL) | Pipeline | Oil | In use |
| 10 | PL0099_PR | P15-D to Maasvlakte (NL) | Pipeline | Gas | In use |

Table 23 	Existing active pipelines in the HKZWFZ

| Cables inactive |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Name | Route | Material | Type | Status |
| 11 | Hermes 1 | Zandvoort (NL) to Aldeburgh (GB) | Fibre Optic | Telecom | Inactive |
| 12 | UK - NL 6 | Katwijk (NL) to Covehithe (GB) | Coaxial | Telecom | Inactive |
| 13 | UK - NL 7 | Katwijk (NL) to Covehithe (GB) | Coaxial | Telecom | Inactive |
| 14 | Concerto 1 Segment 1 East | Zandvoort (NL) to Zeebrugge (B) | Fibre Optic | Telecom | Inactive |

Table 24 	Existing inactive cables in the HKZWFZ

| (1) Concerto I |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_01 | 572,504.1 | 5,806,593.0 |  | CP_04 | 579,793.6 | 5,802,750.4 |
| CP_02 | 572,695.1 | 5,806,610.2 |  | CP_05 | 580,348.2 | 5,802,877.4 |
| CP_03 | 575,422.9 | 5,805,127.0 |  | CP_06 | 583,640.5 | 5,803,632.6 |

Table 25 	Coordinates for the Concerto I telecom cable

| (2) Circe 1 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_07 | 571,058.4 | 5,804,947.2 |  | CP_10 | 579,975.6 | 5,801,180.2 |
| CP_08 | 571,365.9 | 5,804,817.2 |  | CP_11 | 580,618.3 | 5,800,909.4 |
| CP_09 | 578,018.1 | 5,802,006.2 |  | CP_12 | 582,610.4 | 5,801,373.7 |

Table 26 	Coordinates for the Circe I telecom cable

| (3) Ulysses 2 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_13 | 563,453.0 | 5,799,242.9 |  | CP_15 | 580,400.4 | 5,802,036.2 |
| CP_14 | 568,134.0 | 5,799,244.3 |  | CP_16 | 583,205.1 | 5,802,676.1 |

Table 27 	Coordinates for the Ulysses 2 telecom cable

| (4) TAT14 Segment I |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| segment I | Easting | Northing |  | Point No. | Easting | Northing |
| CP_17 | 563,267.5 | 5,798,237.3 |  | CP_24 | 576,008.6 | 5,797,951.0 |
| CP_18 | 566,441.4 | 5,798,257.7 |  | CP_25 | 577,164.5 | 5,797,920.8 |
| CP_19 | 566,870.7 | 5,798,599.2 |  | CP_26 | 578,081.3 | 5,797,855.5 |
| CP_20 | 567,422.6 | 5,798,691.9 |  | CP_27 | 578,908.8 | 5,797,315.2 |
| CP_21 | 568,112.6 | 5,798,241.6 |  | CP_28 | 579,865.7 | 5,797,375.1 |
| CP_22 | 571,753.5 | 5,798,126.9 |  | CP_29 | 580,688.9 | 5,797,461.1 |
| CP_23 | 575,993.3 | 5,797,993.4 |  |  |  |  |

Table 28 	Coordinates for the TAT14 Segment I telecom cable

| (5) COAM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_30 | 563,165.8 | 5,797,686.0 |  | CP_37 | 571,264.1 | 5,798,548.7 |
| CP_31 | 568,139.2 | 5,797,592.1 |  | CP_38 | 571,380.1 | 5,799,105.1 |
| CP_32 | 569,942.2 | 5,797,560.2 |  | CP_39 | 578,972.9 | 5,800,911.0 |
| CP_33 | 570,387.0 | 5,797,680.2 |  | CP_40 | 579,403.7 | 5,800,741.0 |
| CP_34 | 570,698.1 | 5,797,861.0 |  | CP_41 | 580,983.8 | 5,800,117.3 |
| CP_35 | 570,879.7 | 5,798,039.9 |  | CP_42 | 582,187.3 | 5,800,399.6 |
| CP_36 | 571,088.2 | 5,798,379.6 |  |  |  |  |

Table 29 	Coordinates for the planned COAM telecom cable

| (6) TAT14 Segment J |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| segment J | Easting | Northing |  | Point No. | Easting | Northing |
| CP_43 | 583,272.2 | 5,808,803.4 |  | CP_45 | 582,977.8 | 5,804,053.6 |
| CP_44 | 583,265.3 | 5,808,693.8 |  | CP_46 | 583,190.4 | 5,802,642.5 |

Table 30 	Coordinates for the TAT14 Segment J telecom cable

| (7) Export cable WP Luchterduinen |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_47 | 581,387.5 | 5,806,113.7 |  | CP_49 | 584,090.7 | 5,805,223.3 |
| CP_48 | 583,988.2 | 5,805,306.4 |  | CP_50 | 584,219.2 | 5,805,003.0 |

Table 31 	Coordinates for the electricity export cable from the Luchterduinen Wind Farm

| PL0228_PR |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| CP_51 | 564,490.7 | 5,789,168.8 |  | CP_53 | 571,831.8 | 5,785,515.8 |
| CP_52 | 565,186.9 | 5,788,822.4 |  |  |  |  |

Table 32 	Coordinates for the PL0228_PR oil pipeline

# Wind turbines in existing nearby wind farms

Three existing wind farms are located in the vicinity of the HKZWFZ. Windfarm Luchterduinen is located within the HKZWFZ, the wind farms Prinses Amaliawindpark and Offshore Wind Farm Egmond aan Zee are situated north of the HKZWFZ, where the Prinses Amaliawindpark is located in the Hollandse Kust (noord) Wind Farm Zone (HKNWFZ). The coordinates and information of the wind turbines in these wind farms are presented in the tables in this section. For Windfarm Luchterduinen the coordinates of the outer boundary and safety zone are presented as well.

Figure 21		Existing wind farms in the vicinity of HKZWFZ

| Wind Farm Luchterduinen |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| LD_01 | 577,939.9 | 5,808,557.4 |  | LD_09 | 580,284.0 | 5,806,079.3 |
| LD_02 | 581,937.0 | 5,809,676.3 |  | LD_10 | 580,057.0 | 5,805,487.3 |
| LD_03 | 581,980.0 | 5,809,460.3 |  | LD_11 | 579,833.0 | 5,804,860.3 |
| LD_04 | 581,773.0 | 5,809,130.3 |  | LD_12 | 579,388.0 | 5,803,754.3 |
| LD_05 | 581,328.0 | 5,808,327.3 |  | LD_13 | 579,321.0 | 5,803,577.3 |
| LD_06 | 580,984.0 | 5,807,650.3 |  | LD_14 | 576,527.3 | 5,805,095.7 |
| LD_07 | 580,703.0 | 5,807,053.3 |  | LD_15 | 577,960.5 | 5,807,935.4 |
| LD_08 | 580,561.0 | 5,806,743.3 |  | LD_16 | 577,939.9 | 5,808,557.4 |

Table 33 	Coordinates of the boundary of the Luchterduinen Wind Farm (43 Vestas V112 3MW turbines, hub height 81m (LAT))

| Safety Zone Wind Farm Luchterduinen |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| LS_01 | 581,802.2 | 5,810,157.6 |  | LS_14 | 580,296.7 | 5,804,673.7 |
| LS_02 | 582,073.3 | 5,810,157.2 |  | LS_15 | 579,853.6 | 5,803,572.5 |
| LS_03 | 582,304.2 | 5,810,015.4 |  | LS_16 | 579,788.5 | 5,803,400.3 |
| LS_04 | 582,427.2 | 5,809,773.9 |  | LS_17 | 579,621.9 | 5,803,178.2 |
| LS_05 | 582,470.2 | 5,809,557.9 |  | LS_18 | 579,362.4 | 5,803,079.2 |
| LS_06 | 582,403.4 | 5,809,194.6 |  | LS_19 | 579,082.3 | 5,803,138.1 |
| LS_07 | 582,287.0 | 5,809,007.9 |  | LS_20 | 576,288.6 | 5,804,656.5 |
| LS_08 | 581,769.5 | 5,808,092.8 |  | LS_21 | 576,050.1 | 5,804,946.6 |
| LS_09 | 581,433.0 | 5,807,430.6 |  | LS_22 | 576,081.0 | 5,805,320.9 |
| LS_10 | 581,156.4 | 5,806,842.8 |  | LS_23 | 577,456.7 | 5,808,046.5 |
| LS_11 | 581,019.0 | 5,806,542.9 |  | LS_24 | 577,440.7 | 5,808,530.9 |
| LS_12 | 580,748.1 | 5,805,893.5 |  | LS_25 | 577,534.9 | 5,808,850.5 |
| LS_13 | 580,525.8 | 5,805,313.7 |  | LS_26 | 577,809.9 | 5,809,040.1 |

Table 34 	Coordinates of the safety zone of the Luchterduinen Wind Farm

| Luchterduinen Wind Farm |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| NW_01 | 579,282.2 | 5,803,658.3 |  | NW_23 | 578,169.2 | 5,807,039.2 |
| NW_02 | 578,737.2 | 5,803,948.3 |  | NW_24 | 577,666.2 | 5,807,306.2 |
| NW_03 | 578,191.2 | 5,804,238.3 |  | NW_25 | 580,524.2 | 5,806,709.2 |
| NW_04 | 577,645.2 | 5,804,529.3 |  | NW_26 | 580,037.2 | 5,806,968.2 |
| NW_05 | 577,100.2 | 5,804,819.3 |  | NW_27 | 579,550.2 | 5,807,227.2 |
| NW_06 | 576,554.2 | 5,805,110.3 |  | NW_28 | 579,063.2 | 5,807,486.2 |
| NW_07 | 579,584.2 | 5,804,435.3 |  | NW_29 | 578,575.2 | 5,807,745.2 |
| NW_08 | 579,053.2 | 5,804,718.3 |  | NW_30 | 578,088.2 | 5,808,005.2 |
| NW_09 | 578,521.2 | 5,805,000.3 |  | NW_31 | 580,867.2 | 5,807,450.2 |
| NW_10 | 577,990.2 | 5,805,283.3 |  | NW_32 | 580,392.2 | 5,807,703.2 |
| NW_11 | 577,458.2 | 5,805,566.3 |  | NW_33 | 579,917.2 | 5,807,955.2 |
| NW_12 | 576,927.2 | 5,805,849.3 |  | NW_34 | 579,442.2 | 5,808,207.2 |
| NW_13 | 579,889.2 | 5,805,212.3 |  | NW_35 | 578,968.2 | 5,808,460.2 |
| NW_14 | 579,372.2 | 5,805,487.2 |  | NW_36 | 578,493.2 | 5,808,712.2 |
| NW_15 | 578,855.2 | 5,805,762.3 |  | NW_37 | 581,237.2 | 5,808,169.2 |
| NW_16 | 578,337.2 | 5,806,037.2 |  | NW_38 | 580,640.2 | 5,808,486.2 |
| NW_17 | 577,820.2 | 5,806,312.2 |  | NW_39 | 580,144.2 | 5,808,749.2 |
| NW_18 | 577,303.2 | 5,806,588.2 |  | NW_40 | 579,648.2 | 5,809,013.2 |
| NW_19 | 580,182.2 | 5,805,968.3 |  | NW_41 | 581,601.5 | 5,808,840.7 |
| NW_20 | 579,678.2 | 5,806,236.2 |  | NW_42 | 580,591.4 | 5,809,287.2 |
| NW_21 | 579,175.2 | 5,806,503.3 |  | NW_43 | 581,920.2 | 5,809,650.2 |
| NW_22 | 578,672.2 | 5,806,771.2 |  |  |  |  |

Table 35 	Coordinates of the wind turbines installed at the Luchterduinen Wind Farm (43 Vestas 3 MW V112 turbines, hub height 81 m (LAT))

| Princess Amalia Wind Farm |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| NW_44 | 584,022.0 | 5,829,007.0 |  | NW_74 | 584,887.0 | 5,826,200.0 |
| NW_45 | 583,071.0 | 5,829,056.0 |  | NW_75 | 581,041.1 | 5,827,763.0 |
| NW_46 | 583,532.0 | 5,828,757.0 |  | NW_76 | 581,523.0 | 5,827,499.0 |
| NW_47 | 583,994.0 | 5,828,458.0 |  | NW_77 | 582,005.1 | 5,827,235.0 |
| NW_48 | 584,455.0 | 5,828,159.0 |  | NW_78 | 582,488.1 | 5,826,971.0 |
| NW_49 | 582,103.0 | 5,829,063.0 |  | NW_79 | 582,970.0 | 5,826,707.0 |
| NW_50 | 582,570.0 | 5,828,772.0 |  | NW_80 | 583,452.0 | 5,826,443.0 |
| NW_51 | 583,037.0 | 5,828,481.0 |  | NW_81 | 583,935.0 | 5,826,179.0 |
| NW_52 | 583,503.0 | 5,828,191.0 |  | NW_82 | 584,417.0 | 5,825,915.0 |
| NW_53 | 583,970.0 | 5,827,900.0 |  | NW_83 | 584,900.0 | 5,825,651.0 |
| NW_54 | 584,437.0 | 5,827,608.0 |  | NW_84 | 580,531.1 | 5,827,405.0 |
| NW_55 | 584,904.0 | 5,827,318.0 |  | NW_85 | 581,019.1 | 5,827,150.0 |
| NW_56 | 585,371.0 | 5,827,027.0 |  | NW_86 | 581,506.1 | 5,826,895.0 |
| NW_57 | 581,585.1 | 5,828,734.0 |  | NW_87 | 581,993.0 | 5,826,640.0 |
| NW_58 | 582,057.0 | 5,828,452.0 |  | NW_88 | 582,481.0 | 5,826,385.0 |
| NW_59 | 582,529.0 | 5,828,170.0 |  | NW_89 | 582,968.0 | 5,826,130.0 |
| NW_60 | 583,002.0 | 5,827,888.0 |  | NW_90 | 583,455.0 | 5,825,875.0 |
| NW_61 | 583,474.0 | 5,827,606.0 |  | NW_91 | 583,942.0 | 5,825,620.0 |
| NW_62 | 583,946.0 | 5,827,323.0 |  | NW_92 | 584,430.0 | 5,825,365.0 |
| NW_63 | 584,418.0 | 5,827,041.0 |  | NW_93 | 580,527.1 | 5,826,802.0 |
| NW_64 | 584,890.0 | 5,826,759.0 |  | NW_94 | 581,019.1 | 5,826,556.0 |
| NW_65 | 585,362.0 | 5,826,477.0 |  | NW_95 | 581,511.0 | 5,826,310.0 |
| NW_66 | 581,068.1 | 5,828,385.0 |  | NW_96 | 582,002.1 | 5,826,064.0 |
| NW_67 | 581,545.0 | 5,828,111.0 |  | NW_97 | 582,494.0 | 5,825,818.0 |
| NW_68 | 582,024.0 | 5,827,839.0 |  | NW_98 | 582,986.0 | 5,825,571.0 |
| NW_69 | 582,500.0 | 5,827,566.0 |  | NW_99 | 583,478.0 | 5,825,325.0 |
| NW_70 | 582,978.0 | 5,827,293.0 |  | NW_100 | 580,547.1 | 5,826,228.0 |
| NW_71 | 583,455.0 | 5,827,020.0 |  | NW_101 | 581,043.1 | 5,825,990.0 |
| NW_72 | 583,932.0 | 5,826,747.0 |  | NW_102 | 581,539.1 | 5,825,752.0 |
| NW_73 | 584,410.0 | 5,826,473.0 |  | NW_103 | 582,035.1 | 5,825,515.0 |

Table 36 	Coordinates of the wind turbines installed at the Prinses Amaliawindpark (60 Vestas 2 MW V80 turbines, hub height 59 m (LAT))

| Offshore Wind Farm Egmond aan Zee (OWEZ) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  | Point No. | Easting | Northing |
| NW_104 | 597,181.1 | 5,826,380.1 |  | NW_122 | 595,384.1 | 5,829,940.1 |
| NW_105 | 596,756.1 | 5,826,863.1 |  | NW_123 | 594,959.1 | 5,830,424.1 |
| NW_106 | 596,339.1 | 5,827,338.1 |  | NW_124 | 594,534.1 | 5,830,908.1 |
| NW_107 | 595,914.1 | 5,827,822.1 |  | NW_125 | 598,548.1 | 5,827,853.1 |
| NW_108 | 595,490.1 | 5,828,305.1 |  | NW_126 | 598,119.1 | 5,828,338.1 |
| NW_109 | 595,065.1 | 5,828,789.1 |  | NW_127 | 597,695.1 | 5,828,826.1 |
| NW_110 | 594,633.1 | 5,829,281.1 |  | NW_128 | 597,038.1 | 5,829,572.1 |
| NW_111 | 594,208.1 | 5,829,764.1 |  | NW_129 | 596,560.1 | 5,830,116.1 |
| NW_112 | 593,783.1 | 5,830,248.1 |  | NW_130 | 596,135.1 | 5,830,600.1 |
| NW_113 | 593,366.1 | 5,830,739.1 |  | NW_131 | 595,710.1 | 5,831,084.1 |
| NW_114 | 592,933.1 | 5,831,216.1 |  | NW_132 | 595,285.1 | 5,831,568.1 |
| NW_115 | 592,508.1 | 5,831,700.1 |  | NW_133 | 598,868.1 | 5,828,998.1 |
| NW_116 | 598,189.1 | 5,826,748.1 |  | NW_134 | 598,446.1 | 5,829,486.1 |
| NW_117 | 597,764.1 | 5,827,232.1 |  | NW_135 | 597,796.1 | 5,830,224.1 |
| NW_118 | 597,339.1 | 5,827,715.1 |  | NW_136 | 597,312.1 | 5,830,776.1 |
| NW_119 | 596,914.1 | 5,828,199.1 |  | NW_137 | 596,887.1 | 5,831,260.1 |
| NW_120 | 596,234.1 | 5,828,973.1 |  | NW_138 | 596,462.1 | 5,831,744.1 |
| NW_121 | 595,809.1 | 5,829,457.1 |  | NW_139 | 596,037.1 | 5,832,228.1 |

Table 37 		Coordinates of the wind turbines installed at the Offshore Wind Farm Egmond aan Zee (36 Vestas 3 MW V90 turbines, hub height 70 m (MSL))

The Dutch Nationaal Contact Nummer database, see archaeological assessment of geophysical survey results (phase II) see: http://offshorewind.rvo.nl/studieszh